## Core Technology

# What is it?

A device that emits electromagnetic radiation in the “Bio-Frequency Spectrum”

- 0.1 millimeter (near infrared)  to 1 centimeter (short microwave)

# How does it work?

The device heats a chemical substance formulated to radiate energies that mimic the natural emission spectra of the human body.   Hence -The  “Bio-Frequency Spectrum”

# Who makes it?

The initial technology is provided by the Zhoulin Bio-spectrum Co. Beijing China

# Is it protected?

The operational details of the device and the chemical substances are well documented in

U.S. patents , 5792184-aug 11 ’98, 5814078-sept 29 ’98 and 5849026-dec ’98.

## Technology Certification

What must be done to certify this technology for human use.

- The manufacturer must be certified to be in compliance with “quality assurance standards” set forth by the FDA.

- The radiation emitted from the device must be measured and certified by a qualified lab.

- It must also be determined that there are no toxic gasses being produced from the sublimation of the chemicals in the emitting element.

- It must be shown that there are no known harmful effects to humans from the energies or substances measured to emit form the device.

## What is being done to certify this technology

# Certification of manufactures compliance to quality assurance standards

- Clarification of exact regulations for a device manufactured in a foreign country are being requested from the appropriate agencies (FDA …)

- A site visit is most likely necessary in the near future.

# Measurements of the emitted radiation

- Arrangements have been made to do this testing at Oak Ridge National Labs. (ORNL)

- ORNL is a Dept of Energy lab and has the necessary equipment to run the tests and certify the results

- These tests will be preformed by Dr Tom Ferrell , a senior research scientist at the

labs. With in the next 3 weeks

# Measurements of the sublimated gasses from the active substance

- -The Defense Advanced Research Agency (DARPA) has been contacted along with NASA and the Military Medical Command at Ft. Detrick, to help identify a resource for such a measurement.

- Currently we are standing by for their response

## Therapeutic Validation

# So Many claims …So Many Choices…

The bio-frequency spectrum device has been implicated as the key element promoting wellness and accelerating healing in a wide variety of clinical applications

The range of clinical  applications where the device is utilized as the primary therapeutic intervention is also quite extensive

# The plural of antidote is not “data”

The device comes with a vast list of claims generated through it’s wide use in China

The nature of most of these claims is that they tend to be based mostly on  antidotal evidence

Cultural pressures and regulatory oversight are different in China

Research efforts to validate the therapeutic effects  have not been well controlled

and must be replicated in order to validate the clinical/therapeutic claims.

To date there are no therapeutic claims which have been validated in a manner which is acceptable to modern western medical science.

To expedite the process of  therapeutic validation  applications should be chosen which can be verified in a timely manner with a minimum of experimental complexity

# Therapeutic Validation Plan

For every claim we pursue

Preclinical Testing

Protocol Development

IDE -Submission ...

IRB Review

FDA Review

Clinical Trial

PMA Application

FDA -Safety-Efficacy Review