## Core Technology

# What is it?

A device that emits electromagnetic radiation in the “Bio-Frequency Spectrum”

- 0.1 millimeter (near infrared)  to 1 centimeter (short microwave)

# How does it work?

The device heats a chemical substance formulated to radiate energies that mimic the natural emission spectra of the human body.   Hence -The  “Bio-Frequency Spectrum”

# Who makes it?

The initial technology is provided by the Zhoulin Bio-spectrum Co. Beijing China

# Is it protected?

The operational details of the device and the chemical substances are well documented in

U.S. patents , 5792184-aug 11 ’98, 5814078-sept 29 ’98 and 5849026-dec ’98.

## Technology Certification

What must be done to certify this technology for human use.

- The manufacturer must be certified to be in compliance with “quality assurance standards” set forth by the FDA.

- The radiation emitted from the device must be measured and certified by a qualified lab.

- It must also be determined that there are no toxic gasses being produced from the sublimation of the chemicals in the emitting element.

- It must be shown that there are no known harmful effects to humans from the energies or substances measured to emit form the device.

## What is being done to certify this technology

# Certification of manufactures compliance to quality assurance standards

- Clarification of exact regulations for a device manufactured in a foreign country are being requested from the appropriate agencies (FDA …)

- A site visit is most likely necessary in the near future.

# Measurements of the emitted radiation

- Arrangements have been made to do this testing at Oak Ridge National Labs. (ORNL)

- ORNL is a Dept of Energy lab and has the necessary equipment to run the tests and certify the results

- These tests will be preformed by Dr Tom Ferrell , a senior research scientist at the

labs. With in the next 3 weeks

# Measurements of the sublimated gasses from the active substance

- -The Defense Advanced Research Agency (DARPA) has been contacted along with NASA and the Military Medical Command at Ft. Detrick, to help identify a resource for such a measurement.

- Currently we are standing by for their response