# Joymouse Instructions

Finding the Program:

Select the NeatTools folder on the Desktop

Click on the icon titled Joymouse.ntl

- Click on the icon titled Latin_Sounds2.

- Minimize Latin_Sounds2.

- To do this, click the dash button within the program.

Calibrating the Joystick:

This will need to be done every time that Catherine uses the computer.  Also, if her joystick does not seem to be responding correctly, try to recalibrate it.  This often solves the problem.

Below is the Joymouse program.  The only part you will need to be concerned with is located within the Orange box.  All of the other parts have already been set specifically for Catherine and her computer.

( Click on the “XY Cal” button (the red light will illuminate).  Catherine should then move the joystick up, down, left, and right within her comfortable range.  (The yellow dot should move in the direction the joystick is moving.)

(Click off the “XY Cal” button (the red light will turn off).

( Catherine should return her arm to its rest position.  The yellow dot should be near the center of the teal box.

( Click on the “Sample” button. (This button does not stay turned on as with the previous “XY Cal” button.)

(Click on the “Enable” button.  This activates her joystick

Side Notes:

(The “Sensitivity” button will not need to be changed.  It determines how sensitive the mouse is to movement.

(This bar inverts the movement of the joystick in the up/down direction.  For example, if Catherine moves the joystick up, but on the screen the mouse moves down, click on this button.

(This bar inverts the movement of the joystick in the left/right direction.  For example, if Catherine moves the joystick to the right, but on the screen the mouse moves to the left, click on this button.

# Troubleshooting:

1) Losing control of the mouse

The joystick does not take control until the “Enable” button is pushed and the Joymouse program is minimized.  However, if you accidentally maximize the Joymouse program, you will not be able to use a regular mouse to minimize it again. (You maximize the program by clicking on the program once it is already minimized.)  The mouse cursor will be moving in random motions, running off to the side of the screen, and you will have difficulty trying to regain control of it.

In order to bring the Joymouse program back into focus so you can minimize it, press the Alt and Tab key on the keyboard together.  This will bring up the programs currently being used on the computer.

By holding down the Alt key, press the Tab key until the Joymouse program has been selected.  Let go of both buttons and you should be in the Joymouse program and have control of the regular mouse again.

2) The Yellow Dot won’t center in the box

If the Yellow Dot isn’t near the center of the box when Catherine’s arm is in its rest position, first try recalibrating the joystick.  If this still doesn’t solve the problem, then adjust Catherine’s arm and joystick so that when her arm is in the rest position, the yellow dot is near the center of the box.  Once this is completed, recalibrate.

3) The Yellow Dot won’t move when calibrating

If the yellow dot doesn’t move at all, or doesn’t cover a wide range of motion (only moving in one area), try turning off the “XY Cal” button and turning it back on.  If this still doesn’t work, shut down the Joymouse program and restart it.

Up and Moving:

Once the Joymouse program is running correctly, you can open the Notepad and Fitaly keyboard for Catherine to type with.  The Fitaly keyboard and New Text Document are all located on the Desktop.  Remember that in order to type the Notepad must be in focus (meaning that the bar at the top must be blue, not gray).

# Text boxes

(

(

(

(

(

(

(

(